## patients_headerinfo
index | Timestep | ManufacturerModelName | SliceThickness | KVP | FilterType | FocalSpots | ConvolutionKernel | ExposureTime | XRayTubeCurrent | Exposure | PixelSpacing
1 | BEPre | LightSpeed Pro 32 | 1.25 | 100 | BODY FILTER | 1.2 | STANDARD | 800 | 135 | 4 | [0.669922, 0.669922]
2 | BEPreN1 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 800 | 94 | 1 | [0.949219, 0.949219]
3 | BEPreN2 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 800 | 145 | 2 | [0.835938, 0.835938]
4 | BEPreN3 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 800 | 99 | 1 | [0.742188, 0.742188]
5 | BEPreN4 | LightSpeed Pro 32 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 800 | 115 | 4 | [0.765625, 0.765625]
6 | BEPreN5 | LightSpeed16 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 763 | 204 | 12 | [0.833984, 0.833984]
7 | BEPreN6 | LightSpeed16 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 763 | 205 | 13 | [0.703125, 0.703125]
8 | BEPreN7 | LightSpeed16 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 763 | 190 | 12 | [0.740234, 0.740234]
9 | BJPre | SOMATOM Definition Flash | 1.5 | 100 | WEDGE_3 | 1.2 | B45f | 285 | 234 | 111 | [0.6015625, 0.6015625]
10 | BJPreN1 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 126 | 2 | [0.787109, 0.787109]
11 | BJPreN2 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 80 | 1 | [0.664062, 0.664062]
12 | BJPreN3 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 98 | 1 | [0.839844, 0.839844]
13 | BMPre | SOMATOM Definition AS | 1.5 | 100 | FLAT | 1.2 | ['I30f', '2'] | 330 | 548 | 301 | [0.80078125, 0.80078125]
14 | BMPreN1 | SOMATOM Definition AS | 1.5 | 100 | FLAT | 1.2 | ['I30f', '2'] | 330 | 627 | 344 | [0.748046875, 0.748046875]
15 | BMPreN2 | SOMATOM Definition AS | 1.5 | 100 | FLAT | 1.2 | ['I30f', '2'] | 330 | 609 | 334 | [0.84375, 0.84375]
16 | BMPreN3 | SOMATOM Definition AS | 1.5 | 100 | FLAT | 1.2 | ['I30f', '2'] | 330 | 560 | 308 | [0.8046875, 0.8046875]
17 | BMPreN4 | SOMATOM Definition AS | 1.5 | 100 | FLAT | 1.2 | ['I30f', '2'] | 330 | 608 | 334 | [0.88671875, 0.88671875]
18 | BSPre | Revolution HD | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 600 | 149 | 2 | [0.816406, 0.816406]
19 | BSPreN1 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | SOFT | 699 | 131 | 2 | [0.810547, 0.810547]
20 | CTPre | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 699 | 176 | 2 | [0.742187976837, 0.742187976837]
21 | CTPreN1 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 101 | 1 | [0.642578, 0.642578]
22 | DCPre | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 700 | 367 | 5 | [0.949219, 0.949219]
23 | DCPreN1 | SOMATOM Edge Plus | 1.5 | 100 | FLAT | 0.9 | ['Br40f', '2'] | 500 | 785 | 327 | [0.83984375, 0.83984375]
24 | DJPre | LightSpeed Pro 32 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 337 | 5 | [0.861328, 0.861328]
25 | DJPreN1 | LightSpeed Pro 32 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 800 | 341 | 6 | [0.859375, 0.859375]
26 | FHPre | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 700 | 438 | 6 | [0.976562, 0.976562]
27 | FHPreN1 | SOMATOM Definition Flash | 1.5 | 120 | WEDGE_3 | 1.2 | ['I30f', '2'] | 285 | 788 | 561 | [0.931640625, 0.931640625]
28 | FJPre | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 800 | 360 | 6 | [0.820312, 0.820312]
29 | FJPreN1 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 302 | 4 | [0.935547, 0.935547]
30 | GDPre | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 699 | 345 | 5 | [0.912109, 0.912109]
31 | GDPreN1 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 800 | 282 | 5 | [0.917969, 0.917969]
32 | HAPre | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 134 | 2 | [0.628906, 0.628906]
33 | HAPreN1 | SOMATOM Definition AS | 1.5 | 100 | FLAT | 1.2 | B41f | 500 | 205 | 128 | [0.619140625, 0.619140625]
34 | HAPreN2 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 699 | 161 | 2 | [0.724609, 0.724609]
35 | HAPreN3 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 699 | 182 | 2 | [0.775391, 0.775391]
36 | HAPreN4 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 183 | 2 | [0.652344, 0.652344]
37 | HDPre | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 700 | 98 | 1 | [0.826172, 0.826172]
38 | HDPreN1 | SOMATOM Force | 1.5 | 100 | FLAT | 0.8 | ['Br40d', '2'] | 285 | 71 | 33 | [0.806640625, 0.806640625]
39 | HDPreN2 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 101 | 1 | [0.746094, 0.746094]
40 | HDPreN3 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 103 | 1 | [0.873047, 0.873047]
41 | HDPreN4 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | SOFT | 699 | 80 | 1 | [0.763672, 0.763672]
42 | HDPreN5 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 98 | 1 | [0.691406, 0.691406]
43 | HDPreN6 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | SOFT | 699 | 100 | 1 | [0.732422, 0.732422]
44 | HGPre | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | SOFT | 699 | 285 | 6 | [0.873047, 0.873047]
45 | HGPreN1 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | SOFT | 699 | 248 | 3 | [0.976562, 0.976562]
46 | HGPreN2 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 700 | 250 | 3 | [0.789062, 0.789062]
47 | HWPre | Revolution HD | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 600 | 452 | 8 | [0.976562, 0.976562]
48 | HWPreN1 | Revolution HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 373 | 8 | [0.949219, 0.949219]
49 | HWPreN2 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | SOFT | 699 | 324 | 7 | [0.882812, 0.882812]
50 | HWPreN3 | Revolution HD | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 600 | 229 | 4 | [0.976562, 0.976562]
51 | HWPreN4 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | SOFT | 699 | 243 | 5 | [0.703125, 0.703125]
52 | HWPreN5 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | SOFT | 699 | 286 | 6 | [0.822266, 0.822266]
53 | HWPreN6 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 700 | 343 | 5 | [0.910156, 0.910156]
54 | HWPreN7 | SOMATOM Force | 1.5 | 110 | FLAT | 0.8 | ['Bl64d', '2'] | 500 | 384 | 320 | [0.5546875, 0.5546875]
55 | KEPre | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 398 | 6 | [0.720703, 0.720703]
56 | KEPreN1 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 416 | 6 | [0.712891, 0.712891]
57 | KEPreN2 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 434 | 6 | [0.738281, 0.738281]
58 | LDPre | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 600 | 190 | 3 | [0.976562, 0.976562]
59 | LDPreN1 | SOMATOM Force | 1.5 | 100 | FLAT | 0.8 | ['Br44d', '2'] | 500 | 301 | 250 | [0.958984375, 0.958984375]
60 | LDPreN2 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 699 | 213 | 3 | [0.894531, 0.894531]
61 | LDPreN3 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 699 | 304 | 4 | [0.976562, 0.976562]
62 | LDPreN4 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 699 | 249 | 3 | [0.794922, 0.794922]
63 | LKPre | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | SOFT | 699 | 89 | 1 | [0.703125, 0.703125]
64 | LKPreN1 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 699 | 199 | 3 | [0.732422, 0.732422]
65 | LKPreN2 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | SOFT | 699 | 100 | 1 | [0.703125, 0.703125]
66 | LKPreN3 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | SOFT | 699 | 88 | 1 | [0.769531, 0.769531]
67 | LKPreN4 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | SOFT | 699 | 119 | 1 | [0.730469, 0.730469]
68 | LKPreN5 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 700 | 199 | 3 | [0.705078, 0.705078]
69 | LKPreN6 | SOMATOM Definition Flash | 1.5 | 120 | WEDGE_3 | 1.2 | ['I70f', '2'] | 500 | 128 | 106 | [0.705078125, 0.705078125]
70 | LLPre | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | SOFT | 699 | 139 | 2 | [0.703125, 0.703125]
71 | LLPreN1 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 134 | 2 | [0.791016, 0.791016]
72 | LLPreN2 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 108 | 1 | [0.652344, 0.652344]
73 | LLPreN3 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 79 | 1 | [0.617188, 0.617188]
74 | LLPreN4 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 165 | 2 | [0.703125, 0.703125]
75 | LLPreN5 | LightSpeed16 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 707 | 172 | 5 | [0.792969, 0.792969]
76 | LLPreN6 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 141 | 2 | [0.751953, 0.751953]
77 | LTPre | Revolution HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 439 | 9 | [0.976562, 0.976562]
78 | LTPreN1 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | SOFT | 699 | 324 | 7 | [0.976562, 0.976562]
79 | LTPreN2 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | SOFT | 699 | 324 | 7 | [0.976562, 0.976562]
80 | MBPre | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 699 | 305 | 4 | [0.976562, 0.976562]
81 | MBPreN1 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 228 | 3 | [0.781250, 0.781250]
82 | MCPre | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 305 | 4 | [0.976562, 0.976562]
83 | MCPreN1 | LightSpeed Pro 32 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 800 | 297 | 5 | [0.921875, 0.921875]
84 | MCPreN2 | LightSpeed Pro 32 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 800 | 294 | 5 | [0.916016, 0.916016]
85 | MCPreN3 | LightSpeed16 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 545 | 434 | 19 | [0.902344, 0.902344]
86 | MKPre | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 155 | 2 | [0.822266, 0.822266]
87 | MKPreN1 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 800 | 202 | 3 | [0.851562, 0.851562]
88 | MKPreN2 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | SOFT | 699 | 168 | 2 | [0.808594, 0.808594]
89 | MKPreN3 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 224 | 3 | [0.814453, 0.814453]
90 | MKPreN4 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | SOFT | 699 | 143 | 2 | [0.888672, 0.888672]
91 | MKPreN5 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 211 | 3 | [0.736328, 0.736328]
92 | MKPreN6 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 221 | 3 | [0.669922, 0.669922]
93 | MKPreN7 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 249 | 3 | [0.833984, 0.833984]
94 | MKPreN8 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 382 | 6 | [0.623047, 0.623047]
95 | MKPreN9 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 258 | 4 | [0.835938, 0.835938]
96 | MSPre | LightSpeed Pro 32 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 306 | 4 | [0.873047, 0.873047]
97 | MSPreN1 | LightSpeed Pro 32 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 800 | 343 | 6 | [0.953125, 0.953125]
98 | NJPre | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | SOFT | 699 | 217 | 3 | [0.873047, 0.873047]
99 | NJPreN1 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | LUNG | 699 | 330 | 5 | [0.687500, 0.687500]
100 | NJPreN2 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 317 | 5 | [0.841797, 0.841797]
101 | NJPreN3 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 324 | 5 | [0.742188, 0.742188]
102 | NJPreN4 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 305 | 4 | [0.896484, 0.896484]
103 | NJPreN5 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 299 | 4 | [0.869141, 0.869141]
104 | NJPreN6 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 800 | 268 | 4 | [0.861328, 0.861328]
105 | OWPre | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | SOFT | 699 | 421 | 6 | [0.976562, 0.976562]
106 | OWPreN1 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | SOFT | 699 | 432 | 6 | [0.976562, 0.976562]
107 | OWPreN2 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 700 | 442 | 7 | [0.976562, 0.976562]
108 | OWPreN3 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | SOFT | 699 | 439 | 6 | [0.976562, 0.976562]
109 | OWPreN4 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | SOFT | 699 | 486 | 7 | [0.976562, 0.976562]
110 | OWPreN5 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | SOFT | 699 | 435 | 6 | [0.976562, 0.976562]
111 | OWPreN6 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | SOFT | 699 | 429 | 6 | [0.945312, 0.945312]
112 | OWPreN7 | SOMATOM Definition Flash | 1.5 | 120 | WEDGE_3 | 1.2 | ['I30f', '2'] | 285 | 787 | 407 | [0.8203125, 0.8203125]
113 | RSPre | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 700 | 437 | 6 | [0.826172, 0.826172]
114 | RSPreN1 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | SOFT | 699 | 299 | 6 | [0.845703, 0.845703]
115 | RSPreN2 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | SOFT | 699 | 218 | 3 | [0.751953, 0.751953]
116 | RSPreN3 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | SOFT | 699 | 200 | 3 | [0.824219, 0.824219]
117 | RSPreN4 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | SOFT | 699 | 126 | 2 | [0.746094, 0.746094]
118 | RSPreN5 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 195 | 3 | [0.585938, 0.585938]
119 | RSPreN7 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 165 | 2 | [0.542969, 0.542969]
120 | SBPre | SOMATOM Force | 1.5 | 90 | FLAT | 0.8 | ['Br40d', '2'] | 285 | 261 | 123 | [0.759765625, 0.759765625]
121 | SBPreN1 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | LUNG | 699 | 108 | 1 | [0.617188, 0.617188]
122 | SBPreN2 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | SOFT | 699 | 119 | 1 | [0.703125, 0.703125]
123 | SBPreN3 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | SOFT | 699 | 113 | 1 | [0.710938, 0.710938]
124 | SEPre | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | SOFT | 699 | 232 | 3 | [0.925781, 0.925781]
125 | SEPreN1 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | SOFT | 699 | 279 | 4 | [0.976562, 0.976562]
126 | SEPreN2 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | SOFT | 699 | 287 | 4 | [0.873047, 0.873047]
127 | SEPreN3 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 289 | 4 | [0.699219, 0.699219]
128 | SEPreN4 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 324 | 5 | [0.785156, 0.785156]
129 | SJPre | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 387 | 6 | [0.685547, 0.685547]
130 | SJPreN1 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 373 | 5 | [0.869141, 0.869141]
131 | SJPreN2 | LightSpeed Pro 16 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 707 | 344 | 10 | [0.810547, 0.810547]
132 | SJPreN3 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 332 | 5 | [0.925781, 0.925781]
133 | SJPreN4 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 800 | 315 | 5 | [0.863281, 0.863281]
134 | SLPre | LightSpeed Pro 32 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 800 | 316 | 5 | [0.927734, 0.927734]
135 | SLPreN1 | LightSpeed Pro 32 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 800 | 386 | 7 | [0.957031, 0.957031]
136 | SLPreN2 | LightSpeed Pro 32 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 800 | 314 | 5 | [0.855469, 0.855469]
137 | SLPreN3 | LightSpeed16 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 707 | 442 | 14 | [0.917969, 0.917969]
138 | SLPreN4 | LightSpeed16 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 707 | 442 | 14 | [0.736328, 0.736328]
139 | SWPre | Sensation 40 | 3 | 120 | 0 | 1.2 | B31f | 500 | 565 | 376 | [0.880859375, 0.880859375]
140 | SWPreN1 | Sensation 40 | 3 | 120 | 0 | 1.2 | B31f | 500 | 491 | 327 | [0.791015625, 0.791015625]
141 | TBPre | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 800 | 194 | 3 | [0.779297, 0.779297]
142 | TBPreN1 | LightSpeed16 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 707 | 180 | 5 | [0.787109, 0.787109]
143 | TCPre | SOMATOM Force | 1.5 | 100 | FLAT | 0.8 | ['Br44d', '2'] | 500 | 580 | 483 | [0.8515625, 0.8515625]
144 | TCPreN1 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | SOFT | 699 | 238 | 5 | [0.873047, 0.873047]
145 | THPre | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 700 | 426 | 6 | [0.931641, 0.931641]
146 | THPreN1 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 700 | 434 | 6 | [0.943359, 0.943359]
147 | THPreN2 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 700 | 384 | 6 | [0.949219, 0.949219]
148 | WEPre | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 600 | 609 | 11 | [0.976562, 0.976562]
149 | WEPreN1 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 600 | 530 | 10 | [0.925781, 0.925781]
150 | WEPreN2 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 600 | 615 | 11 | [0.976562, 0.976562]
151 | WEPreN3 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 600 | 649 | 12 | [0.931641, 0.931641]
152 | WMPre | Revolution HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 253 | 5 | [0.863281, 0.863281]
153 | WMPreN1 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | SOFT | 699 | 158 | 3 | [0.857422, 0.857422]
154 | WMPreN2 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | SOFT | 699 | 246 | 5 | [0.898438, 0.898438]
155 | WMPreN3 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | SOFT | 699 | 201 | 4 | [0.869141, 0.869141]
156 | WMPreN4 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | SOFT | 699 | 324 | 7 | [0.892578, 0.892578]
157 | WMPreN5 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | SOFT | 699 | 215 | 4 | [0.796875, 0.796875]
158 | WMPreN6 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | SOFT | 699 | 294 | 4 | [0.861328, 0.861328]

## batch summary
batch | ManufacturerModelName | SliceThickness | KVP | FilterType | FocalSpots | ConvolutionKernel |  | ExposureTime | XRayTubeCurrent | Exposure | PixelSpacing
1 | LightSpeed Pro 32 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 10
2 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | SOFT | 40
3 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 9
4 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 13
5 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 26
6 | LightSpeed16 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 8
7 | Revolution HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 3
8 | Revolution HD | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 3
9 | SOMATOM Definition AS | 1.5 | 100 | FLAT | 1.2 | ['I30f', '2'] | 5
10 | SOMATOM Definition Flash | 1.5 | 120 | WEDGE_3 | 1.2 | ['I30f', '2'] | 2
11 | SOMATOM Force | 1.5 | 100 | FLAT | 0.8 | ['Br40d', '2'] | 3
12 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 17
13 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 3
14 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | LUNG | 2
144

## batch1
index | Timestep | ManufacturerModelName | SliceThickness | KVP | FilterType | FocalSpots | ConvolutionKernel | ExposureTime | XRayTubeCurrent | Exposure | PixelSpacing | Batch
|  | LightSpeed Pro 32 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD
5 | BEPreN4 | LightSpeed Pro 32 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 800 | 115 | 4 | [0.765625, 0.765625] | 1
24 | DJPre | LightSpeed Pro 32 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 337 | 5 | [0.861328, 0.861328] | 1
25 | DJPreN1 | LightSpeed Pro 32 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 800 | 341 | 6 | [0.859375, 0.859375] | 1
83 | MCPreN1 | LightSpeed Pro 32 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 800 | 297 | 5 | [0.921875, 0.921875] | 1
84 | MCPreN2 | LightSpeed Pro 32 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 800 | 294 | 5 | [0.916016, 0.916016] | 1
96 | MSPre | LightSpeed Pro 32 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 306 | 4 | [0.873047, 0.873047] | 1
97 | MSPreN1 | LightSpeed Pro 32 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 800 | 343 | 6 | [0.953125, 0.953125] | 1
134 | SLPre | LightSpeed Pro 32 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 800 | 316 | 5 | [0.927734, 0.927734] | 1
135 | SLPreN1 | LightSpeed Pro 32 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 800 | 386 | 7 | [0.957031, 0.957031] | 1
136 | SLPreN2 | LightSpeed Pro 32 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 800 | 314 | 5 | [0.855469, 0.855469] | 1
119 | RSPreN7 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 165 | 2 | [0.542969, 0.542969]
121 | SBPreN1 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | LUNG | 699 | 108 | 1 | [0.617188, 0.617188]
128 | SEPreN4 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 324 | 5 | [0.785156, 0.785156]
129 | SJPre | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 387 | 6 | [0.685547, 0.685547]
130 | SJPreN1 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 373 | 5 | [0.869141, 0.869141]
149 | WEPreN1 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 600 | 530 | 10 | [0.925781, 0.925781]
151 | WEPreN3 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 600 | 649 | 12 | [0.931641, 0.931641]

## batch2
index | Timestep | ManufacturerModelName | SliceThickness | KVP | FilterType | FocalSpots | ConvolutionKernel | ExposureTime | XRayTubeCurrent | Exposure | PixelSpacing | batch
|  | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | SOFT
19 | BSPreN1 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 131 | 2 | [0.810547, 0.810547] | 2
41 | HDPreN4 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 80 | 1 | [0.763672, 0.763672] | 2
43 | HDPreN6 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 100 | 1 | [0.732422, 0.732422] | 2
44 | HGPre | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 285 | 6 | [0.873047, 0.873047] | 2
45 | HGPreN1 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 248 | 3 | [0.976562, 0.976562] | 2
49 | HWPreN2 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 324 | 7 | [0.882812, 0.882812] | 2
51 | HWPreN4 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 243 | 5 | [0.703125, 0.703125] | 2
52 | HWPreN5 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 286 | 6 | [0.822266, 0.822266] | 2
63 | LKPre | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 89 | 1 | [0.703125, 0.703125] | 2
65 | LKPreN2 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 100 | 1 | [0.703125, 0.703125] | 2
66 | LKPreN3 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 88 | 1 | [0.769531, 0.769531] | 2
67 | LKPreN4 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 119 | 1 | [0.730469, 0.730469] | 2
70 | LLPre | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 139 | 2 | [0.703125, 0.703125] | 2
78 | LTPreN1 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 324 | 7 | [0.976562, 0.976562] | 2
79 | LTPreN2 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 324 | 7 | [0.976562, 0.976562] | 2
88 | MKPreN2 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 168 | 2 | [0.808594, 0.808594] | 2
90 | MKPreN4 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 143 | 2 | [0.888672, 0.888672] | 2
98 | NJPre | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 217 | 3 | [0.873047, 0.873047] | 2
105 | OWPre | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 421 | 6 | [0.976562, 0.976562] | 2
106 | OWPreN1 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 432 | 6 | [0.976562, 0.976562] | 2
108 | OWPreN3 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 439 | 6 | [0.976562, 0.976562] | 2
109 | OWPreN4 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 486 | 7 | [0.976562, 0.976562] | 2
110 | OWPreN5 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 435 | 6 | [0.976562, 0.976562] | 2
111 | OWPreN6 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 429 | 6 | [0.945312, 0.945312] | 2
114 | RSPreN1 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 299 | 6 | [0.845703, 0.845703] | 2
115 | RSPreN2 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 218 | 3 | [0.751953, 0.751953] | 2
116 | RSPreN3 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 200 | 3 | [0.824219, 0.824219] | 2
117 | RSPreN4 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 126 | 2 | [0.746094, 0.746094] | 2
122 | SBPreN2 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 119 | 1 | [0.703125, 0.703125] | 2
123 | SBPreN3 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 113 | 1 | [0.710938, 0.710938] | 2
124 | SEPre | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 232 | 3 | [0.925781, 0.925781] | 2
125 | SEPreN1 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 279 | 4 | [0.976562, 0.976562] | 2
126 | SEPreN2 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 287 | 4 | [0.873047, 0.873047] | 2
144 | TCPreN1 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 238 | 5 | [0.873047, 0.873047] | 2
153 | WMPreN1 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 158 | 3 | [0.857422, 0.857422] | 2
154 | WMPreN2 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 246 | 5 | [0.898438, 0.898438] | 2
155 | WMPreN3 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 201 | 4 | [0.869141, 0.869141] | 2
156 | WMPreN4 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 324 | 7 | [0.892578, 0.892578] | 2
157 | WMPreN5 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 215 | 4 | [0.796875, 0.796875] | 2
158 | WMPreN6 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 294 | 4 | [0.861328, 0.861328] | 2

## batch3
index | Timestep | ManufacturerModelName | SliceThickness | KVP | FilterType | FocalSpots | ConvolutionKernel | ExposureTime | XRayTubeCurrent | Exposure | PixelSpacing
|  | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 1.2 | SOFT
20 | CTPre | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 699 | 176 | 2 | [0.742187, 0.742187] | 3
30 | GDPre | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 699 | 345 | 5 | [0.912109, 0.912109] | 3
58 | LDPre | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 600 | 190 | 3 | [0.976562, 0.976562] | 3
60 | LDPreN2 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 699 | 213 | 3 | [0.894531, 0.894531] | 3
61 | LDPreN3 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 699 | 304 | 4 | [0.976562, 0.976562] | 3
62 | LDPreN4 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 699 | 249 | 3 | [0.794922, 0.794922] | 3
64 | LKPreN1 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 699 | 199 | 3 | [0.732422, 0.732422] | 3
149 | WEPreN1 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 600 | 530 | 10 | [0.925781, 0.925781] | 3
151 | WEPreN3 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 600 | 649 | 12 | [0.931641, 0.931641] | 3

## batch4
index | Timestep | ManufacturerModelName | SliceThickness | KVP | FilterType | FocalSpots | ConvolutionKernel | ExposureTime | XRayTubeCurrent | Exposure | PixelSpacing
|  | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | SOFT
22 | DCPre | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 700 | 367 | 5 | [0.949219, 0.949219] | 4
26 | FHPre | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 700 | 438 | 6 | [0.976562, 0.976562] | 4
37 | HDPre | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 700 | 98 | 1 | [0.826172, 0.826172] | 4
46 | HGPreN2 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 700 | 250 | 3 | [0.789062, 0.789062] | 4
53 | HWPreN6 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 700 | 343 | 5 | [0.910156, 0.910156] | 4
68 | LKPreN5 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 700 | 199 | 3 | [0.705078, 0.705078] | 4
107 | OWPreN2 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 700 | 442 | 7 | [0.976562, 0.976562] | 4
113 | RSPre | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 700 | 437 | 6 | [0.826172, 0.826172] | 4
145 | THPre | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 700 | 426 | 6 | [0.931641, 0.931641] | 4
146 | THPreN1 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 700 | 434 | 6 | [0.943359, 0.943359] | 4
147 | THPreN2 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 700 | 384 | 6 | [0.949219, 0.949219] | 4
148 | WEPre | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 600 | 609 | 11 | [0.976562, 0.976562] | 4
150 | WEPreN2 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 600 | 615 | 11 | [0.976562, 0.976562] | 4

## batch5
index | Timestep | ManufacturerModelName | SliceThickness | KVP | FilterType | FocalSpots | ConvolutionKernel | ExposureTime | XRayTubeCurrent | Exposure | PixelSpacing
|  | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD
2 | BEPreN1 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 800 | 94 | 1 | [0.949219, 0.949219] | 5
3 | BEPreN2 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 800 | 145 | 2 | [0.835938, 0.835938] | 5
4 | BEPreN3 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 800 | 99 | 1 | [0.742188, 0.742188] | 5
11 | BJPreN2 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 80 | 1 | [0.664062, 0.664062] | 5
12 | BJPreN3 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 98 | 1 | [0.839844, 0.839844] | 5
21 | CTPreN1 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 101 | 1 | [0.642578, 0.642578] | 5
28 | FJPre | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 800 | 360 | 6 | [0.820312, 0.820312] | 5
29 | FJPreN1 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 302 | 4 | [0.935547, 0.935547] | 5
31 | GDPreN1 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 800 | 282 | 5 | [0.917969, 0.917969] | 5
36 | HAPreN4 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 183 | 2 | [0.652344, 0.652344] | 5
39 | HDPreN2 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 101 | 1 | [0.746094, 0.746094] | 5
40 | HDPreN3 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 103 | 1 | [0.873047, 0.873047] | 5
42 | HDPreN5 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 98 | 1 | [0.691406, 0.691406] | 5
55 | KEPre | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 398 | 6 | [0.720703, 0.720703] | 5
73 | LLPreN3 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 79 | 1 | [0.617188, 0.617188] | 5
76 | LLPreN6 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 141 | 2 | [0.751953, 0.751953] | 5
86 | MKPre | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 155 | 2 | [0.822266, 0.822266] | 5
87 | MKPreN1 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 800 | 202 | 3 | [0.851562, 0.851562] | 5
89 | MKPreN3 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 224 | 3 | [0.814453, 0.814453] | 5
95 | MKPreN9 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 258 | 4 | [0.835938, 0.835938] | 5
102 | NJPreN4 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 305 | 4 | [0.896484, 0.896484] | 5
103 | NJPreN5 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 299 | 4 | [0.869141, 0.869141] | 5
104 | NJPreN6 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 800 | 268 | 4 | [0.861328, 0.861328] | 5
118 | RSPreN5 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 195 | 3 | [0.585938, 0.585938] | 5
127 | SEPreN3 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 289 | 4 | [0.699219, 0.699219] | 5
132 | SJPreN3 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 332 | 5 | [0.925781, 0.925781] | 5
133 | SJPreN4 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 800 | 315 | 5 | [0.863281, 0.863281] | 5
141 | TBPre | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 800 | 194 | 3 | [0.779297, 0.779297] | 5

## batch6
index | Timestep | ManufacturerModelName | SliceThickness | KVP | FilterType | FocalSpots | ConvolutionKernel | ExposureTime | XRayTubeCurrent | Exposure | PixelSpacing
|  | LightSpeed16 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD
6 | BEPreN5 | LightSpeed16 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 763 | 204 | 12 | [0.833984, 0.833984] | 6
7 | BEPreN6 | LightSpeed16 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 763 | 205 | 13 | [0.703125, 0.703125] | 6
8 | BEPreN7 | LightSpeed16 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 763 | 190 | 12 | [0.740234, 0.740234] | 6
75 | LLPreN5 | LightSpeed16 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 707 | 172 | 5 | [0.792969, 0.792969] | 6
85 | MCPreN3 | LightSpeed16 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 545 | 434 | 19 | [0.902344, 0.902344] | 6
137 | SLPreN3 | LightSpeed16 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 707 | 442 | 14 | [0.917969, 0.917969] | 6
138 | SLPreN4 | LightSpeed16 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 707 | 442 | 14 | [0.736328, 0.736328] | 6
142 | TBPreN1 | LightSpeed16 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 707 | 180 | 5 | [0.787109, 0.787109] | 6

## batch7
index | Timestep | ManufacturerModelName | SliceThickness | KVP | FilterType | FocalSpots | ConvolutionKernel | ExposureTime | XRayTubeCurrent | Exposure | PixelSpacing
|  | Revolution HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD
48 | HWPreN1 | Revolution HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 373 | 8 | [0.949219, 0.949219] | 7
77 | LTPre | Revolution HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 439 | 9 | [0.976562, 0.976562] | 7
152 | WMPre | Revolution HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 253 | 5 | [0.863281, 0.863281] | 7

## batch8
index | Timestep | ManufacturerModelName | SliceThickness | KVP | FilterType | FocalSpots | ConvolutionKernel | ExposureTime | XRayTubeCurrent | Exposure | PixelSpacing
|  | Revolution HD | 1.25 | 120 | BODY FILTER | 1.2 | SOFT
18 | BSPre | Revolution HD | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 600 | 149 | 2 | [0.816406, 0.816406] | 8
47 | HWPre | Revolution HD | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 600 | 452 | 8 | [0.976562, 0.976562] | 8
50 | HWPreN3 | Revolution HD | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 600 | 229 | 4 | [0.976562, 0.976562] | 8

## batch9
index | Timestep | ManufacturerModelName | SliceThickness | KVP | FilterType | FocalSpots | ConvolutionKernel | ExposureTime | XRayTubeCurrent | Exposure | PixelSpacing
|  | SOMATOM Definition AS | 1.5 | 100 | FLAT | 1.2 | ['I30f', '2']
13 | BMPre | SOMATOM Definition AS | 1.5 | 100 | FLAT | 1.2 | ['I30f', '2'] | 330 | 548 | 301 | [0.80078125, 0.80078125] | 9
14 | BMPreN1 | SOMATOM Definition AS | 1.5 | 100 | FLAT | 1.2 | ['I30f', '2'] | 330 | 627 | 344 | [0.748046875, 0.748046875] | 9
15 | BMPreN2 | SOMATOM Definition AS | 1.5 | 100 | FLAT | 1.2 | ['I30f', '2'] | 330 | 609 | 334 | [0.84375, 0.84375] | 9
16 | BMPreN3 | SOMATOM Definition AS | 1.5 | 100 | FLAT | 1.2 | ['I30f', '2'] | 330 | 560 | 308 | [0.8046875, 0.8046875] | 9
17 | BMPreN4 | SOMATOM Definition AS | 1.5 | 100 | FLAT | 1.2 | ['I30f', '2'] | 330 | 608 | 334 | [0.88671875, 0.88671875] | 9

## batch10
index | Timestep | ManufacturerModelName | SliceThickness | KVP | FilterType | FocalSpots | ConvolutionKernel | ExposureTime | XRayTubeCurrent | Exposure | PixelSpacing
|  | SOMATOM Definition Flash | 1.5 | 120 | WEDGE_3 | 1.2 | ['I30f', '2']
27 | FHPreN1 | SOMATOM Definition Flash | 1.5 | 120 | WEDGE_3 | 1.2 | ['I30f', '2'] | 285 | 788 | 561 | [0.931640625, 0.931640625]
112 | OWPreN7 | SOMATOM Definition Flash | 1.5 | 120 | WEDGE_3 | 1.2 | ['I30f', '2'] | 285 | 787 | 407 | [0.8203125, 0.8203125]

## batch11
index | Timestep | ManufacturerModelName | SliceThickness | KVP | FilterType | FocalSpots | ConvolutionKernel | ExposureTime | XRayTubeCurrent | Exposure | PixelSpacing
|  | SOMATOM Force | 1.5 | 100 | FLAT | 0.8 | ['Br40d', '2']
38 | HDPreN1 | SOMATOM Force | 1.5 | 100 | FLAT | 0.8 | ['Br40d', '2'] | 285 | 71 | 33 | [0.806640625, 0.806640625]
59 | LDPreN1 | SOMATOM Force | 1.5 | 100 | FLAT | 0.8 | ['Br44d', '2'] | 500 | 301 | 250 | [0.958984375, 0.958984375]
143 | TCPre | SOMATOM Force | 1.5 | 100 | FLAT | 0.8 | ['Br44d', '2'] | 500 | 580 | 483 | [0.8515625, 0.8515625]

## batch12
index | Timestep | ManufacturerModelName | SliceThickness | KVP | FilterType | FocalSpots | ConvolutionKernel | ExposureTime | XRayTubeCurrent | Exposure | PixelSpacing
|  | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD
10 | BJPreN1 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 126 | 2 | [0.787109, 0.787109] | 12
32 | HAPre | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 134 | 2 | [0.628906, 0.628906] | 12
56 | KEPreN1 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 416 | 6 | [0.712891, 0.712891] | 12
57 | KEPreN2 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 434 | 6 | [0.738281, 0.738281] | 12
71 | LLPreN1 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 134 | 2 | [0.791016, 0.791016] | 12
72 | LLPreN2 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 108 | 1 | [0.652344, 0.652344] | 12
74 | LLPreN4 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 165 | 2 | [0.703125, 0.703125] | 12
81 | MBPreN1 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 228 | 3 | [0.781250, 0.781250] | 12
82 | MCPre | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 305 | 4 | [0.976562, 0.976562] | 12
91 | MKPreN5 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 211 | 3 | [0.736328, 0.736328] | 12
92 | MKPreN6 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 221 | 3 | [0.669922, 0.669922] | 12
93 | MKPreN7 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 249 | 3 | [0.833984, 0.833984] | 12
94 | MKPreN8 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 382 | 6 | [0.623047, 0.623047] | 12
100 | NJPreN2 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 317 | 5 | [0.841797, 0.841797] | 12
101 | NJPreN3 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 324 | 5 | [0.742188, 0.742188] | 12
119 | RSPreN7 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 165 | 2 | [0.542969, 0.542969] | 12
128 | SEPreN4 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 324 | 5 | [0.785156, 0.785156] | 12
129 | SJPre | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 387 | 6 | [0.685547, 0.685547] | 12
130 | SJPreN1 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 373 | 5 | [0.869141, 0.869141] | 12

## batch13
index | Timestep | ManufacturerModelName | SliceThickness | KVP | FilterType | FocalSpots | ConvolutionKernel | ExposureTime | XRayTubeCurrent | Exposure | PixelSpacing
|  | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD
34 | HAPreN2 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 699 | 161 | 2 | [0.724609, 0.724609] | 13
35 | HAPreN3 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 699 | 182 | 2 | [0.775391, 0.775391] | 13
80 | MBPre | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 699 | 305 | 4 | [0.976562, 0.976562] | 13

## batch14
index | Timestep | ManufacturerModelName | SliceThickness | KVP | FilterType | FocalSpots | ConvolutionKernel | ExposureTime | XRayTubeCurrent | Exposure | PixelSpacing | Batch
|  | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | LUNG
99 | NJPreN1 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | LUNG | 699 | 330 | 5 | [0.687500, 0.687500] | 14
121 | SBPreN1 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | LUNG | 699 | 108 | 1 | [0.617188, 0.617188] | 14

## summary
index | Timestep | ManufacturerModelName | SliceThickness | KVP | FilterType | FocalSpots | ConvolutionKernel | ExposureTime | XRayTubeCurrent | Exposure | PixelSpacing | Batch
1 | BEPre | LightSpeed Pro 32 | 1.25 | 100 | BODY FILTER | 1.2 | STANDARD | 800 | 135 | 4 | [0.669922, 0.669922] | 0
2 | BEPreN1 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 800 | 94 | 1 | [0.949219, 0.949219] | 5
3 | BEPreN2 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 800 | 145 | 2 | [0.835938, 0.835938] | 5
4 | BEPreN3 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 800 | 99 | 1 | [0.742188, 0.742188] | 5
5 | BEPreN4 | LightSpeed Pro 32 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 800 | 115 | 4 | [0.765625, 0.765625] | 1
6 | BEPreN5 | LightSpeed16 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 763 | 204 | 12 | [0.833984, 0.833984] | 6
7 | BEPreN6 | LightSpeed16 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 763 | 205 | 13 | [0.703125, 0.703125] | 6
8 | BEPreN7 | LightSpeed16 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 763 | 190 | 12 | [0.740234, 0.740234] | 6
9 | BJPre | SOMATOM Definition Flash | 1.5 | 100 | WEDGE_3 | 1.2 | B45f | 285 | 234 | 111 | [0.6015625, 0.6015625] | 0
10 | BJPreN1 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 126 | 2 | [0.787109, 0.787109] | 12
11 | BJPreN2 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 80 | 1 | [0.664062, 0.664062] | 5
12 | BJPreN3 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 98 | 1 | [0.839844, 0.839844] | 5
13 | BMPre | SOMATOM Definition AS | 1.5 | 100 | FLAT | 1.2 | ['I30f', '2'] | 330 | 548 | 301 | [0.80078125, 0.80078125] | 9
14 | BMPreN1 | SOMATOM Definition AS | 1.5 | 100 | FLAT | 1.2 | ['I30f', '2'] | 330 | 627 | 344 | [0.748046875, 0.748046875] | 9
15 | BMPreN2 | SOMATOM Definition AS | 1.5 | 100 | FLAT | 1.2 | ['I30f', '2'] | 330 | 609 | 334 | [0.84375, 0.84375] | 9
16 | BMPreN3 | SOMATOM Definition AS | 1.5 | 100 | FLAT | 1.2 | ['I30f', '2'] | 330 | 560 | 308 | [0.8046875, 0.8046875] | 9
17 | BMPreN4 | SOMATOM Definition AS | 1.5 | 100 | FLAT | 1.2 | ['I30f', '2'] | 330 | 608 | 334 | [0.88671875, 0.88671875] | 9
18 | BSPre | Revolution HD | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 600 | 149 | 2 | [0.816406, 0.816406] | 8
19 | BSPreN1 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 131 | 2 | [0.810547, 0.810547] | 2
20 | CTPre | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 699 | 176 | 2 | [0.742187, 0.742187] | 3
21 | CTPreN1 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 101 | 1 | [0.642578, 0.642578] | 5
22 | DCPre | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 700 | 367 | 5 | [0.949219, 0.949219] | 4
23 | DCPreN1 | SOMATOM Edge Plus | 1.5 | 100 | FLAT | 0.9 | ['Br40f', '2'] | 500 | 785 | 327 | [0.83984375, 0.83984375] | 0
24 | DJPre | LightSpeed Pro 32 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 337 | 5 | [0.861328, 0.861328] | 1
25 | DJPreN1 | LightSpeed Pro 32 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 800 | 341 | 6 | [0.859375, 0.859375] | 1
26 | FHPre | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 700 | 438 | 6 | [0.976562, 0.976562] | 4
27 | FHPreN1 | SOMATOM Definition Flash | 1.5 | 120 | WEDGE_3 | 1.2 | ['I30f', '2'] | 285 | 788 | 561 | [0.931640625, 0.931640625] | 10
28 | FJPre | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 800 | 360 | 6 | [0.820312, 0.820312] | 5
29 | FJPreN1 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 302 | 4 | [0.935547, 0.935547] | 5
30 | GDPre | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 699 | 345 | 5 | [0.912109, 0.912109] | 3
31 | GDPreN1 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 800 | 282 | 5 | [0.917969, 0.917969] | 5
32 | HAPre | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 134 | 2 | [0.628906, 0.628906] | 12
33 | HAPreN1 | SOMATOM Definition AS | 1.5 | 100 | FLAT | 1.2 | B41f | 500 | 205 | 128 | [0.619140625, 0.619140625] | 0
34 | HAPreN2 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 699 | 161 | 2 | [0.724609, 0.724609] | 13
35 | HAPreN3 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 699 | 182 | 2 | [0.775391, 0.775391] | 13
36 | HAPreN4 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 183 | 2 | [0.652344, 0.652344] | 5
37 | HDPre | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 700 | 98 | 1 | [0.826172, 0.826172] | 4
38 | HDPreN1 | SOMATOM Force | 1.5 | 100 | FLAT | 0.8 | ['Br40d', '2'] | 285 | 71 | 33 | [0.806640625, 0.806640625] | 11
39 | HDPreN2 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 101 | 1 | [0.746094, 0.746094] | 5
40 | HDPreN3 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 103 | 1 | [0.873047, 0.873047] | 5
41 | HDPreN4 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 80 | 1 | [0.763672, 0.763672] | 2
42 | HDPreN5 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 98 | 1 | [0.691406, 0.691406] | 5
43 | HDPreN6 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 100 | 1 | [0.732422, 0.732422] | 2
44 | HGPre | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 285 | 6 | [0.873047, 0.873047] | 2
45 | HGPreN1 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 248 | 3 | [0.976562, 0.976562] | 2
46 | HGPreN2 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 700 | 250 | 3 | [0.789062, 0.789062] | 4
47 | HWPre | Revolution HD | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 600 | 452 | 8 | [0.976562, 0.976562] | 8
48 | HWPreN1 | Revolution HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 373 | 8 | [0.949219, 0.949219] | 7
49 | HWPreN2 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 324 | 7 | [0.882812, 0.882812] | 2
50 | HWPreN3 | Revolution HD | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 600 | 229 | 4 | [0.976562, 0.976562] | 8
51 | HWPreN4 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 243 | 5 | [0.703125, 0.703125] | 2
52 | HWPreN5 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 286 | 6 | [0.822266, 0.822266] | 2
53 | HWPreN6 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 700 | 343 | 5 | [0.910156, 0.910156] | 4
54 | HWPreN7 | SOMATOM Force | 1.5 | 110 | FLAT | 0.8 | ['Bl64d', '2'] | 500 | 384 | 320 | [0.5546875, 0.5546875] | 0
55 | KEPre | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 398 | 6 | [0.720703, 0.720703] | 5
56 | KEPreN1 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 416 | 6 | [0.712891, 0.712891] | 12
57 | KEPreN2 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 434 | 6 | [0.738281, 0.738281] | 12
58 | LDPre | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 600 | 190 | 3 | [0.976562, 0.976562] | 3
59 | LDPreN1 | SOMATOM Force | 1.5 | 100 | FLAT | 0.8 | ['Br44d', '2'] | 500 | 301 | 250 | [0.958984375, 0.958984375] | 11
60 | LDPreN2 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 699 | 213 | 3 | [0.894531, 0.894531] | 3
61 | LDPreN3 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 699 | 304 | 4 | [0.976562, 0.976562] | 3
62 | LDPreN4 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 699 | 249 | 3 | [0.794922, 0.794922] | 3
63 | LKPre | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 89 | 1 | [0.703125, 0.703125] | 2
64 | LKPreN1 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 699 | 199 | 3 | [0.732422, 0.732422] | 3
65 | LKPreN2 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 100 | 1 | [0.703125, 0.703125] | 2
66 | LKPreN3 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 88 | 1 | [0.769531, 0.769531] | 2
67 | LKPreN4 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 119 | 1 | [0.730469, 0.730469] | 2
68 | LKPreN5 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 700 | 199 | 3 | [0.705078, 0.705078] | 4
69 | LKPreN6 | SOMATOM Definition Flash | 1.5 | 120 | WEDGE_3 | 1.2 | ['I70f', '2'] | 500 | 128 | 106 | [0.705078125, 0.705078125] | 0
70 | LLPre | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 139 | 2 | [0.703125, 0.703125] | 2
71 | LLPreN1 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 134 | 2 | [0.791016, 0.791016] | 12
72 | LLPreN2 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 108 | 1 | [0.652344, 0.652344] | 12
73 | LLPreN3 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 79 | 1 | [0.617188, 0.617188] | 5
74 | LLPreN4 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 165 | 2 | [0.703125, 0.703125] | 12
75 | LLPreN5 | LightSpeed16 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 707 | 172 | 5 | [0.792969, 0.792969] | 6
76 | LLPreN6 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 141 | 2 | [0.751953, 0.751953] | 5
77 | LTPre | Revolution HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 439 | 9 | [0.976562, 0.976562] | 7
78 | LTPreN1 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 324 | 7 | [0.976562, 0.976562] | 2
79 | LTPreN2 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 324 | 7 | [0.976562, 0.976562] | 2
80 | MBPre | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 699 | 305 | 4 | [0.976562, 0.976562] | 13
81 | MBPreN1 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 228 | 3 | [0.781250, 0.781250] | 12
82 | MCPre | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 305 | 4 | [0.976562, 0.976562] | 12
83 | MCPreN1 | LightSpeed Pro 32 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 800 | 297 | 5 | [0.921875, 0.921875] | 1
84 | MCPreN2 | LightSpeed Pro 32 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 800 | 294 | 5 | [0.916016, 0.916016] | 1
85 | MCPreN3 | LightSpeed16 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 545 | 434 | 19 | [0.902344, 0.902344] | 6
86 | MKPre | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 155 | 2 | [0.822266, 0.822266] | 5
87 | MKPreN1 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 800 | 202 | 3 | [0.851562, 0.851562] | 5
88 | MKPreN2 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 168 | 2 | [0.808594, 0.808594] | 2
89 | MKPreN3 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 224 | 3 | [0.814453, 0.814453] | 5
90 | MKPreN4 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 143 | 2 | [0.888672, 0.888672] | 2
91 | MKPreN5 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 211 | 3 | [0.736328, 0.736328] | 12
92 | MKPreN6 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 221 | 3 | [0.669922, 0.669922] | 12
93 | MKPreN7 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 249 | 3 | [0.833984, 0.833984] | 12
94 | MKPreN8 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 382 | 6 | [0.623047, 0.623047] | 12
95 | MKPreN9 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 258 | 4 | [0.835938, 0.835938] | 5
96 | MSPre | LightSpeed Pro 32 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 306 | 4 | [0.873047, 0.873047] | 1
97 | MSPreN1 | LightSpeed Pro 32 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 800 | 343 | 6 | [0.953125, 0.953125] | 1
98 | NJPre | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 217 | 3 | [0.873047, 0.873047] | 2
99 | NJPreN1 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | LUNG | 699 | 330 | 5 | [0.687500, 0.687500] | 14
100 | NJPreN2 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 317 | 5 | [0.841797, 0.841797] | 12
101 | NJPreN3 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 324 | 5 | [0.742188, 0.742188] | 12
102 | NJPreN4 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 305 | 4 | [0.896484, 0.896484] | 5
103 | NJPreN5 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 299 | 4 | [0.869141, 0.869141] | 5
104 | NJPreN6 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 800 | 268 | 4 | [0.861328, 0.861328] | 5
105 | OWPre | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 421 | 6 | [0.976562, 0.976562] | 2
106 | OWPreN1 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 432 | 6 | [0.976562, 0.976562] | 2
107 | OWPreN2 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 700 | 442 | 7 | [0.976562, 0.976562] | 4
108 | OWPreN3 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 439 | 6 | [0.976562, 0.976562] | 2
109 | OWPreN4 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 486 | 7 | [0.976562, 0.976562] | 2
110 | OWPreN5 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 435 | 6 | [0.976562, 0.976562] | 2
111 | OWPreN6 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 429 | 6 | [0.945312, 0.945312] | 2
112 | OWPreN7 | SOMATOM Definition Flash | 1.5 | 120 | WEDGE_3 | 1.2 | ['I30f', '2'] | 285 | 787 | 407 | [0.8203125, 0.8203125] | 10
113 | RSPre | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 700 | 437 | 6 | [0.826172, 0.826172] | 4
114 | RSPreN1 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 299 | 6 | [0.845703, 0.845703] | 2
115 | RSPreN2 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 218 | 3 | [0.751953, 0.751953] | 2
116 | RSPreN3 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 200 | 3 | [0.824219, 0.824219] | 2
117 | RSPreN4 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 126 | 2 | [0.746094, 0.746094] | 2
118 | RSPreN5 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 195 | 3 | [0.585938, 0.585938] | 5
119 | RSPreN7 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 165 | 2 | [0.542969, 0.542969] | 12
120 | SBPre | SOMATOM Force | 1.5 | 90 | FLAT | 0.8 | ['Br40d', '2'] | 285 | 261 | 123 | [0.759765625, 0.759765625] | 0
121 | SBPreN1 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | LUNG | 699 | 108 | 1 | [0.617188, 0.617188] | 14
122 | SBPreN2 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 119 | 1 | [0.703125, 0.703125] | 2
123 | SBPreN3 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 113 | 1 | [0.710938, 0.710938] | 2
124 | SEPre | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 232 | 3 | [0.925781, 0.925781] | 2
125 | SEPreN1 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 279 | 4 | [0.976562, 0.976562] | 2
126 | SEPreN2 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 287 | 4 | [0.873047, 0.873047] | 2
127 | SEPreN3 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 289 | 4 | [0.699219, 0.699219] | 5
128 | SEPreN4 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 324 | 5 | [0.785156, 0.785156] | 12
129 | SJPre | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 387 | 6 | [0.685547, 0.685547] | 12
130 | SJPreN1 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 373 | 5 | [0.869141, 0.869141] | 12
131 | SJPreN2 | LightSpeed Pro 16 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 707 | 344 | 10 | [0.810547, 0.810547] | 0
132 | SJPreN3 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 700 | 332 | 5 | [0.925781, 0.925781] | 5
133 | SJPreN4 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 800 | 315 | 5 | [0.863281, 0.863281] | 5
134 | SLPre | LightSpeed Pro 32 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 800 | 316 | 5 | [0.927734, 0.927734] | 1
135 | SLPreN1 | LightSpeed Pro 32 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 800 | 386 | 7 | [0.957031, 0.957031] | 1
136 | SLPreN2 | LightSpeed Pro 32 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 800 | 314 | 5 | [0.855469, 0.855469] | 1
137 | SLPreN3 | LightSpeed16 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 707 | 442 | 14 | [0.917969, 0.917969] | 6
138 | SLPreN4 | LightSpeed16 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 707 | 442 | 14 | [0.736328, 0.736328] | 6
139 | SWPre | Sensation 40 | 3 | 120 | 0 | 1.2 | B31f | 500 | 565 | 376 | [0.880859375, 0.880859375] | 0
140 | SWPreN1 | Sensation 40 | 3 | 120 | 0 | 1.2 | B31f | 500 | 491 | 327 | [0.791015625, 0.791015625] | 0
141 | TBPre | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 800 | 194 | 3 | [0.779297, 0.779297] | 5
142 | TBPreN1 | LightSpeed16 | 1.25 | 120 | BODY FILTER | 1.2 | STANDARD | 707 | 180 | 5 | [0.787109, 0.787109] | 6
143 | TCPre | SOMATOM Force | 1.5 | 100 | FLAT | 0.8 | ['Br44d', '2'] | 500 | 580 | 483 | [0.8515625, 0.8515625] | 11
144 | TCPreN1 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 238 | 5 | [0.873047, 0.873047] | 2
145 | THPre | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 700 | 426 | 6 | [0.931641, 0.931641] | 4
146 | THPreN1 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 700 | 434 | 6 | [0.943359, 0.943359] | 4
147 | THPreN2 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 700 | 384 | 6 | [0.949219, 0.949219] | 4
148 | WEPre | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 600 | 609 | 11 | [0.976562, 0.976562] | 4
149 | WEPreN1 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 600 | 530 | 10 | [0.925781, 0.925781] | 3
150 | WEPreN2 | LightSpeed VCT | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 600 | 615 | 11 | [0.976562, 0.976562] | 4
151 | WEPreN3 | Discovery CT750 HD | 1.25 | 120 | BODY FILTER | 1.2 | SOFT | 600 | 649 | 12 | [0.931641, 0.931641] | 3
152 | WMPre | Revolution HD | 1.25 | 120 | BODY FILTER | 0.7 | STANDARD | 699 | 253 | 5 | [0.863281, 0.863281] | 7
153 | WMPreN1 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 158 | 3 | [0.857422, 0.857422] | 2
154 | WMPreN2 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 246 | 5 | [0.898438, 0.898438] | 2
155 | WMPreN3 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 201 | 4 | [0.869141, 0.869141] | 2
156 | WMPreN4 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 324 | 7 | [0.892578, 0.892578] | 2
157 | WMPreN5 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 215 | 4 | [0.796875, 0.796875] | 2
158 | WMPreN6 | GE MEDICAL SYSTEMS | Discovery CT750 HD | 1.25 | BODY FILTER | 0.7 | SOFT | 699 | 294 | 4 | [0.861328, 0.861328] | 2

## plot
699 | 131 | 2 | 91.569
699 | 80 | 1 | 55.92
699 | 100 | 1 | 69.9
699 | 285 | 6 | 199.215
699 | 248 | 3 | 173.352
699 | 324 | 7 | 226.476
699 | 243 | 5 | 169.857
699 | 286 | 6 | 199.914
699 | 89 | 1 | 62.211
699 | 100 | 1 | 69.9
699 | 88 | 1 | 61.512
699 | 119 | 1 | 83.181
699 | 139 | 2 | 97.161
699 | 324 | 7 | 226.476
699 | 324 | 7 | 226.476
699 | 168 | 2 | 117.432
699 | 143 | 2 | 99.957
699 | 217 | 3 | 151.683
699 | 421 | 6 | 294.279
699 | 432 | 6 | 301.968
699 | 439 | 6 | 306.861
699 | 486 | 7 | 339.714
699 | 435 | 6 | 304.065
699 | 429 | 6 | 299.871
699 | 299 | 6 | 209.001
699 | 218 | 3 | 152.382
699 | 200 | 3 | 139.8
699 | 126 | 2 | 88.074
699 | 119 | 1 | 83.181
699 | 113 | 1 | 78.987
699 | 232 | 3 | 162.168
699 | 279 | 4 | 195.021
699 | 287 | 4 | 200.613
699 | 238 | 5 | 166.362
699 | 158 | 3 | 110.442
699 | 246 | 5 | 171.954
699 | 201 | 4 | 140.499
699 | 324 | 7 | 226.476
699 | 215 | 4 | 150.285
699 | 294 | 4 | 205.506